X-ray Safety Training

Part I, Description of Radiation

The term “radiation” is frightening to some people. As with many frightening subjects, learning and understanding more about the particular subject makes it less frightening and intimidating.

The two basic types of radiation, (radiant energy), are electromagnetic waves (EM waves) and energetic particles. Let us first consider electromagnetic waves, which are classified according to their wavelengths and corresponding energies. These waves move through space at the speed of light 186,000 miles per second (300 X 106 meters per second).

Their range of wavelengths is enormous, from hundreds of meters to the size of atoms. Their energies are inversely related to their wavelengths, the long wavelengths have the smallest energies whereas the short wavelengths have the highest energies. AM, FM and TV broadcasting utilize the longer EM wavelengths. As an example, the wavelength of a typical FM radio broadcast at 100 MHz is 3 meters. Cellular telephones utilize even shorter wavelength EM waves, of about 30 centimeters. Radar wavelengths are about a centimeter; microwave ovens are about 12 centimeters. Moving to even shorter wavelength EM waves we come to the infrared region of the spectrum. These EM waves produce the sensation of warmth in our skin. When their intensity is sufficiently great burning may result. At still even shorter wavelengths our eyes become sensitive to a range, called the “visible” portion of the spectrum. The longer waves in this range produce the sensation of red whereas the shorter produce violet. The wavelengths in the middle of this range produce the sensation of green, which is the color our eyes are most sensitive to.

The energy of EM waves is measured in “electron volts”, abbreviated eV, and the energy of green light is 2 eV. The next range of shorter wavelengths, beyond the visible, is called  “ultraviolet”, with corresponding energies from 5 to 100 eV. It is common practice to describe these very short wavelength EM waves by their energy and to identify 10 eV as the point above which EM waves can produce ionization in matter. The remaining two ranges of EM waves are the X-ray, with energies from 100 to 100,000 eV

(0.1 to 100 keV), and the gamma ray, with energies above 100 keV, commonly measured in millions of eV (MeV). X-rays are produced in X-ray machines and some radioactive substances; gamma rays are produced in some radioactive substances and from cosmic rays that originate in deep space.

There are three sources of radiation due to energetic particles: accelerators used in physics research, radioactive substances, and cosmic rays. Their energies range from thousands to millions of eV, (keV to MeV).

# Part II, Production of X-rays

Generally speaking, X-rays are produced in X-ray machines although some radioactive substances emit X-rays. The X-ray tube inside an X-ray machine is a small electron accelerator. Electrons accelerated by a large difference of potential, several thousand volts, strike a metal target and quickly come to rest. This rapid deceleration results in the electron’s energy being converted into X-rays with a range of wavelengths called Bremsstrahlung, German for “braking rays”. The shape of the metal target, as well as shielding around the tube, result in these rays being concentrated into a beam.

Part III, Radiation Exposure and Dose

Measurable effects of radiation on living matter depend upon the amount of energy deposited in tissue. The concern here is on ionizing radiation. To begin with it may be a bit easier to think of the incident radiation as being X-ray or gamma rays; the extension to particles, alpha, beta, neutrons, etc. will follow easily.

An incident X-ray on an atom of tissue produces ionization by dislodging one or more electrons. As a rule only some of the incident ray’s energy is utilized. The scattered ray can ionize an adjacent atom, loosing more of its energy then scatter off to another atom and so fort producing a series of ionizations along its path until it has been completely absorbed or exits the tissue. The incident X-ray may have sufficient energy to break the bonds in a water molecule leaving the free radicals H+ and OH-, which are very reactive and damaging to tissue. Or it could break the bonds in a complex molecule such as a protein or the DNA molecule. If, for instance, the bonds in a DNA molecule are broken several possibilities exist. A) The bonds rejoin leaving no permanent result. B) The bonds rejoin in a new configuration resulting in the death of the cell of which it is a part, or perhaps a cancer will begin. A healthy organism is continually replacing dead cells but if the intensity of the radiation is sufficiently great more cells are destroyed than the organism can readily replace resulting it the death of the organism.

The “absorbed dose” of radiation by matter is the amount of energy per unit mass imparted and is measured in “rads”. One rad, which stands for radiation absorbed dose, is defined as 0.01 joules absorbed per kilogram of matter, (0.01j/kg). The rad is an older unit but still in use. The newer unit of absorbed dose is the “gray”, (Gy) and is equal to 100 rad, (1Gy = 1j/kg absorbed).

For living organisms the “biologically equivalent dose”, or “dose equivalent” is measured in “rem” which stands for roentgen equivalent man. The rem is an older unit but still in use. The newer unit is the “sievert”, (Sv) and is equal to100 rem. Because some types of radiation produce greater ionization along their paths through tissue they are more damaging. For example, alpha particles passing through tissue are 10 to 20 times more damaging than X-rays or gamma rays. For this reason alpha particles are assigned a “relative biological effectiveness” (RBE) or “quality factor” (QF) of 10 to 20, depending on their energy. X-rays and gamma rays have an RBE = QF = 1. The biologically equivalent dose, in rem, is obtained by multiplying the absorbed dose, in rad, by the RBE. For example, an absorbed dose of one rad of X-rays results in a biologically equivalent dose of one rem (0.01 sievert). The RBE for various types of ionizing radiation are:

1. X-rays		RBE = QF = 1

2. gamma rays		RBE = QF = 1

3. betas		RBE = QF = 1 to 2

4. alphas		RBE = QF = 10 to 20

5. protons		RBE = QF = 10

6. neutrons (slow)	RBE = QF = 4

7. neutrons (fast) 	RBE = QF = 10

Another example is: A 2 rad absorbed dose of slow neutrons results in a biologically equivalent dose of  8 rem. In the newer units this is: A 0.02 gray absorbed dose of slow neutrons results in a biologically equivalent dose of 0.08 sievert.

# Part IV, Measurement of Radiation

Three commonly used instruments to measure radiation are: the survey meter also called a Geiger counter, the liquid scintillation counter, and the film badge.

A standard type of survey meter consists of a probe connected by a cable to a battery powered electronic package the output of which is indicated on a meter and often by a beeping sound. Neon is the gas usually contained in the probe. Radiation passing through the neon produces trails of ions that are detected by the electronics and cause the meter to deflect and a beep to sound. The scale on the meter may indicate “CPM”, counts per minute, and/or, more appropriately, “mR/hr”, which is an abbreviation for milliRoentgens per hour. Thus a survey meter measures the rate of exposure. Radiation “exposure” is measured in Roentgens named after Wilhelm Roentgen who discovered X-ray radiation in 1895. By definition: one Roentgen of radiation produces 1.6 X 1015 ion-electron pairs in one kilogram of dry air.

The absorbed dose is proportional to the exposure. A whole body exposed to one Roentgen of gamma rays results in an absorbed dose of 0.96 rad, the biologically equivalent dose is 0.96 rem. Note that the proportionality constant is close enough to one that for an approximate calculation you can use one. For example, a person works in a laboratory for half an hour in which a survey meter indicates that the average gamma exposure rate is 60 mR/hr. Estimate the person’s absorbed does in rem and sieverts.

The absorbed dose is the rate times the time:

(60 mR/hr) X (0.5 hr) = 30 mR, which is approximately 30 mrem = 0.3 millisieverts.

Geiger type survey meters are best at measuring gamma ray and beta ray exposure rate provided that the betas have sufficient energy to penetrate the thin window in the probe.

These instruments do detect X-rays but may not give an accurate indication of the exposure rate.

A typical film badge is used to determine the whole body dose received and contains two radiation sensitive devices; one is a piece of film, much like photographic film, the other is a small glass rod called a “thermo-luminescence device”, a TLD. It is worn on the chest or waist during the time the person works with radioactive materials. At the end of the month the badge is sent to the badge service provider for processing. The film is developed and examined. The total dose received is proportional to the optical density of the developed film. The processing of the TLD is to gently heat it in the presence of a photomultiplier. The amount of light released during the heating is proportional to the dose received. Film badges are not sensitive to low energy beta exposure. They are reliable for high-energy betas, gamma and X-ray exposure. People working with P-32, beta energy 1.7 MeV, or any gamma emitter must wear a film badge.

Part V, Background Radiation

We are all exposed to ionizing radiation from a variety of sources in our environment. Our bodies contain small amounts of potassium 40 and carbon 14 from the food we eat. Other sources include cosmic rays (energetic particles from space), some building materials, such as stone and brick depending on the mining location, medical X-rays, radon, etc. The listing below represents an average biologically equivalent dose of radiation received by an U.S. resident. Keep in mind that this list represents an average over all residents, depending on a particular location and/or person the dose may be greater or less than that listed. The units used are “mrem”, millirem and “(Sv”, microsieverts.

# Source of Radiation_______________________________mrem______________(Sv

# Natural background radiation

Cosmic rays							 28			 280

Radioactive earth and air					 28			 280

Internal radioactive substances				 39			 390

Inhaled radon							200			2000

# Man-made radiation

Consumer products						 10			 100

Medical and/or dental diagnostics				 39 			 390

Nuclear medicine						 14			 140

Total								358			3580

The total, 358 mrem, is close enough to 365 mrem to state that an average person receives a dose of approximately one millirem per day with no apparent ill effects.

# Part VI, Biological Effects of Radiation

The radiation dose levels that are stated in Part V pertains to all persons. We shall now concentration on persons who work with radioactive materials or X-rays or, because of certain circumstances, receive above average doses.

There are three broad categories used to describe the effects of whole body radiation dose, which are: genetic effect, effects that occur in an individual’s progeny, acute effects, effects due to a large dose of radiation in a short time period, and chronic effects, effects due to small doses received over long time periods.

Genetic effects. As stated above, radiation can damage the DNA molecule in the gene- carrying chromosomes but only chromosomal damage to germ cells can affect inheritance. It is also accepted that radiation will cause mutations. However there does not appear to be any conclusive evidence of any heredity effects in humans due to radiation. Even experiments done on animal populations fail to indicate any genetic effects resulting from increased radiation levels. For example, no change was observed in the population of a colony of Texas field mice in which the gonads of captured males were subjected to high levels of radiation and then released back into the colony. Nor were any effects of possible mutations on the colony viability observed. Another example comes from studies done on the animal population at Bikini and Eniwetok atolls after the nuclear bomb testing. Some of these animals received above-lethal doses of radiation yet appear to produce healthy, normal offspring.

Acute effects. As a result of accidents, for example, persons working with fissionable material that became critical for a short period (a few minutes) and the disaster of the Russian reactor at Chernobyl, several people are known to have died due to large doses of radiation, 6 in the U.S. and 31 in Russia. There most likely have been others. Here the term “large dose” means greater than about 100 rem (1 sievert). A dose greater than about 300 rem (3 sievert) is considered to be “LD50(30)” which means: Lethal Dose with a 50% probability of survival within 30 days. The graph below shows the approximate relationship between probable death and whole body dose.

100

Percent

deaths

50

0

100               200              300               400                 500

Dose   in   rem

Short term effects of an acute whole body dose:

25 rem. This level dose may just be detectable from measurements of a drop in red and white blood cell count.

100 rem. About half of those receiving this level will become nauseous. There will be noticeable reductions in red and white blood cell count and feeling fatigue.

200 rem. All will become nauseous and feel fatigue. Some may loose their hair and some may die especially if they do not receive rest and medical treatment.

300 to 400 rem. About half will die even given medical treatment.

500 to 600 rem. Most will die even with medical treatment.

700 to 800 rem Most likely all will die even with medical treatment.

Cells are most susceptible to radiation damage during mitosis, during cell division. This also implies that organs and organisms that consist of rapidly dividing cells are more susceptible to radiation damage. This explains why many types of cancer are treated with gamma radiation from cobalt 60. Many cancers consist of rapidly dividing cells. It also explains why pregnant women and infants are more susceptible and have greater restrictions placed upon them regarding radiation exposure. Radiation induced nausea is understood because the cells in the small intestine undergo relatively rapid mitosis.

Chronic effects. Most of the information regarding chronic whole body radiation comes from studies of radiologists who may receive between 100 to 1500 mrem with an average of about 500 mrem per year in addition to background. The data indicate that radiologists have a slight increase in longevity compared to both physicians and the general population. However there is a somewhat higher, but decreasing, incidence of leukemia among radiologists frequently attributed to their radiation exposure.

It should be evident that the most hazardous situation results from radioactive material being ingested into the body. In this case the radiation-producing chemical is in intimate contact with tissue and consequently can do the most damage. Depending upon the chemical makeup of the material it may be flushed from the body after time or it may become permanently incorporated. An example of the latter occurred back in the early 1930s in which young women that were employed to paint the numerals on clock and watch dials with paint that contained some radium salts. Phosphors were also included in the paint so that the numerals glowed in the dark. The young women tipped their brushes with their lips for the fine work and so ingested some of the radium in the paint. Radium is chemically similar to calcium, being in the same column in the periodic table, so that it migrated and became incorporated into their bones. Recall that radium is an alpha emitter and that alphas produce considerable ionization along their paths in matter and so are very damaging to tissue. As a result many of these women developed degrees of bone cancer years later. The lesson here is to keep radioactive material out of the body. Wear rubber gloves and do not eat or drink in the laboratory.

# Part VII, Protection from Radiation

There are three principles, the use of which can keep your exposure to a minimum. These are:

- TIME The longer you stay near a radioactive substance the greater will be your absorbed dose. This implies that you should practice your laboratory procedure before using active material so that you can quickly complete the task.

- DISTANCE The intensity of radiation from a small size source decreases as the square of the distance from it. Doubling the distance from a source reduces the intensity of radiation by a factor of 4. This implies that you should avoid close contact and contamination of your skin by wearing rubber gloves when handling radioactive materials. You might also use tongs to hold containers of “hot” substances. And, as stated above, make sure that such material does not enter your body via your mouth. Consuming food in designated “hot labs” is prohibited.

- SHIELDING Adequate and proper shielding between your body and a source of radiation can reduce your exposure to very low levels. Metals, such as lead, can be used to shield from X-ray and gamma radiation but should not be used to shield from beta radiation. About 1.5 cm of Plexiglas provides adequate shielding for beta emission from P-32 (energy 1.7 MeV). Beta emissions from H-3 (energy 0.019 MeV), C-14 and S-35 (0.17 MeV) are stopped in or by the layer of dead skin of a person. Again, all persons working with radioactive, toxic or other hazardous substances should wear rubber gloves to protect themselves from contamination.

# Part VIII, Required Procedures

Illinois State University receives a license from the Illinois Department of Nuclear Safety, (IDNS), to procure and use certain radioactive substances. As part of this license the University agrees to abide by the rules and regulations set forth by this agency. To insure that these rules and regulations are being carried out, IDNS periodically sends an officer to inspect our laboratories and to review our radiation safety program.

The ISU Radiation Safety Committee, authorized by IDNS, is the body that governs the use of radioactive materials on campus. This committee consists of seven members, three of whom come from Environmental Health and Safety (EHS); the chairman, who is the head of EHS, the radiation safety officer and assistant radiation safety officer. The remaining four consist of one representative from each of the departments of Biological Sciences, Chemistry, Health Sciences and Health Services. One main function of the committee is to review the qualifications of faculty members who wish to use radioactive materials and/or X-ray machines in their research. A faculty member makes application to the committee, which includes his/her training and experience with the radioactive materials and/or X-ray machine that are to be used in the research. The particular isotopes and amounts needed are included in the application. After successful review the committee grants permission to purchase and use such materials and/or machine within the limits of ISU’s license.

The complete outline of ISU’s radioactive materials program is described in the Radiation Safety Manual, available on Environmental Health and Safety’s web site. Two important points follow.

- Film badges are not to be shared between persons and should be worn on the chest or waist when working with high-energy beta emitters, such as P-32,  gamma emitters, or X-rays.

- An operating log must be maintained that includes the date the machine is operated, who operates the machine and the tube operating voltage and current.

Now that you have completed the training log on to the ISU home page at http://www.ilstu.edu and log into iCAMPUS to take the exam.